Policy title: Portable Appliance Testing Policy

Policy Control

| Policy reference: | NS8 |
| --- | --- |
| Title of Policy: | Portable Appliance Management and Testing |
| Version: | V2 |
| Directorate / Departmental ownership: | Sustainability & Environment |
| Officer responsible: | Conor Sage, Assistant Director Sustainability |
| Date of ratification: | 12 March 2020 |
| Review date: | 1 September 2029 |
| Equality screening and Rural Needs Impact Assessment completed by: | Colin Moffett, Head of Corporate Policy |
| Equality screening and Rural Needs Impact Assessment date: | 25 March 2026 |
| Location where document is held and referenced: | Responsible Department ☒ Corporate Policy repository ☒ |

Contents

| Content | Page Number |
| --- | --- |
| Statement | 2 |
| Aim of this policy | 2 |
| Scope of the policy | 2 |
| Related policies and legislation | 3 |
| Definitions | 3 |
| Department & Officer responsible | 3 |
| Policy approval process | 4 |
| Review date | 4 |
| Procedures and arrangements for monitoring the implementation and impact of the policy | 4 |
| Equality screening | 4 |
| Rural Needs Impact Assessment | 4 |

| 1. | Title of policy |
| --- | --- |
|  | Newry, Mourne and Down District Council (the Council) has a duty under the Health and Safety at Work (NI) Order 1978 to ensure, so far as is reasonably practicable, the health, safety and welfare at work of their employees and others who may be affected by their activities. This policy statement and associated Portable Electrical Appliance Procedure have been developed to manage the risk associated with use of portable electrical appliances. |
| 2. | Statement |
|  | The Council recognises that use of portable electrical appliances can present a serious risk to health, safety and fire. The Council is committed to protecting the health and safety of their staff, contractors, clients and visitors who may be affected by their activities, along with ensuring compliance with all relevant health and safety legislation. |
| 3. | Aim |
|  | The Council is the “Duty Holder” for all portable electrical appliances within their estate. Only portable electrical appliances (as defined by Section 5) will fall within the scope of this policy and Procedure. The objectives of this policy are to: - Ensure so far as is reasonably practicable, that portable electrical appliances used within the Council estate do not present a risk to the health, safety and welfare of staff, contractors, clients and visitors to the Council estate. - Provide and maintain safe systems of work for the use of portable electrical appliances, that are safe and without risk to health & safety; - Provide such information, instruction, training and supervision to ensure employees carry out their works safely. The Council through the successful implementation of its Portable Appliance Testing Procedure will meet these policy objectives. |
| 4. | Scope |
|  | This policy applies to all premises including temporary structures and activities falling, to any extent, under the Council’s control. The policy and associated Procedure details how Council, all employees, contractors and visitors will be expected to meet their legal duties regarding the use of portable electrical appliances. The Procedure provides a standardised approach for all persons who are responsible for managing workplaces, premises, facilities and work activities, ensuring consistency across the Council. |
| 5. | Related policies and legislation |
|  | This document should be read in conjunction with the following: - - Newry, Mourne & Down District Council Health & Safety Policy - Newry, Mourne & Down District Council Health & Safety Policy Organisational Procedures - Newry, Mourne & Down District Council Portable Appliance Testing Procedure Other relevant statutory regulations and documents to be consulted as part of the policy include: - - Health & Safety at Work (NI) Order 1978 - Management of Health & Safety at Work Regulations (NI) 2000 - The Electricity at Work Regulations (NI) 1991 - The 18th Edition of the IET Wiring Regulations (BS 7671) - Provision and Use of Work Equipment Regulations (NI) 1999 - Maintaining Portable Electrical Equipment in low-risk environments INDG236(rev3) HSE 2013 - Relevant British Standards |
| 6. | Definitions |
|  | Duty Holder – Organisation responsible for ensuring compliance with the relevant legal duty. Portable Electrical Appliance – Electrical appliances fitted with a plug, rated between 110 and 240 volts ac, and allowing disconnection from the electrical supply without the use of a tool. |
| 7. | Department and Officer responsible |
|  | Directorate / Department; Sustainability & Environment/Sustainability/Maintenance. Officer(s) responsible for developing the policy; Aidan Mallon. |
| 8. | Policy approval process |
|  | Meeting; Date. CMT; 24 June 2025. SMT; 4 July 2025. Strategy, Policy and Resources Committee; 14 August 2025. Monthly Council Meeting; 1 September 2025. |
| 9. | Review Date |
|  | The policy will be reviewed in line with the Council’s agreed policy review cycle i.e. every 4 years (as per Council’s Equality Scheme commitment 4.31), or sooner to ensure it remains reflective of legislative developments. |
| 10. | Procedures and arrangements for monitoring the implementation and impact of the policy |
|  | Council has developed a Portable Appliance Testing Procedure which details the monitoring arrangements for implementation of the Policy. |
| 11. | Equality Screening |
|  | The policy has been equality screened and the outcome is that it not be subject to an EQIA (with no mitigating measures required). |
| 12. | Rural Needs Impact Assessment |
|  | Due regard to rural needs has been considered and a rural needs impact assessment has been completed. |